## US version
Purleve EnviroSeal Payback Analysis
|  |  | Location: |  | University
|  |  | City/Zip Code: |  | Anytown
Installation - Data
|  |  | Number of urinals |  |  |  | 20 | units
|  |  | Users per day |  |  |  | 2000 | males
|  |  | User frequency per day |  |  |  | 2 | times
|  |  | Water volume per flush |  |  |  | 1 | gal
|  |  | Number of day's used per week |  |  |  | 5 | days
|  |  | Number of weeks used per year |  |  |  | 52
|  |  | Water and sewer charges |  |  | $ | 9 | per 1000 gal
|  |  | Maintenance cost per year |  |  | $ | 50
|  |  | Installation cost per urinal |  |  | $ | 0
|  |  | Existing Water Urinal System |  |  |  |  | Purleve ENVIROSEAL System
WATER CONSUMPTION
|  | Water use per day |  |  | 4000 | gal |  |  | 0 | gal
|  | Water use per Year |  |  | 1040000 | gal |  |  | 0 | gal
Water & Sewer Cost
|  | Water cost per urinal |  | $ | 468 |  |  | $ | 0
|  | Total Water cost |  | $ | 9360 |  |  | $ | 0
|  | Maintenance cost |  | $ | 1000 |  |  | $ | 0
|  | Total operational cost: |  | $ | 10360 |  | EnviroSeal: $ |  | 2400
|  | Annual savings with Purleve EnviroSeal ($): |  |  |  |  | 7960
INVESTMENT (with Urinal)
|  | ENVIROSEAL SYSTEM COST |  | 20 | units at: $ | 300 |  | Total: $ | 6000
|  | Payback time with Purleve EnviroSeal urinal system: | [5 empty] | 9.0452 | months
ENVIROSEAL SYSTEM ANNUAL COSTS
|  | ENVIROSEAL SYSTEM LIFE CYCLE |  |  | 6 | Months
|  | Annual consumption: |  | 2 | units per urinal
|  | Total EnvirSeal Cost: |  | 40 | units at: $ | 60 |  | Total: $ | 2400
IMPORTANT: |  |  | This payback analysis is based on certain assumption related to number of users and flush volume of the urinal(-s) lin the facility. This payback analysis does not take into consideration of the infrared/sensor valve or a magnetic switch that is highly likely to flush more often and various other factors that can contribute to even larger water consumption than estimated in this document.